Tables of Contents
English Abstract…………….…………….………………….…………i

Chinese Abstract…….……………...............………………….……….ii

Acknowledgments…..…………..………………..……………….……iii

Table of Contents….……………......…….…………..………..……….iv

List of Figures………………….......…………………….……………. vi

List of Tables……………….......……………………..….……………..x

Nomenclature….………………...…………………..…….…………….xi

Chapter
I    Introduction.………………………….................…………….1

1.1 Motivation………………..…………..…………………1

1.2 Literature Review….....…………….…………………..3
1.3 Scope of the Present Study....………..…........………….6
   II    Theoretical Analysis….…..……………….……..…………….8         2.1…...………. ……………………….……….…..…………..8

        2.2…..…….…………...…………………………….………..12

        2.3…..……….………..…………………..…..……..………..16

III    Numerical Method and Calculation Procedure.…..……....….19

3.1…………..………………………………………...………19
3.2………………….……………….…….……….…………..30
3.3….…………………....………….……………..…….…….35

IV   Results and Discussion…..…............................…………….40
V   Conclusions……….........................................................…….50

VI   Recommendation for Future Studies......................................53

References…........…………………….………….……..……...……….55

Appendixes..............................................................................................58

     Appendix 1….................................................................................58

     Appendix 2….................................................................................65

Author…..………………………...........……………………….……….70

目錄

英文摘要…….………......…………………………………………..……i
中文摘要…….…………….........………………………….…………….ii

誌謝……..………..……………………………...………………………iii

目錄….…………………......………………………………...………….iv

圖目錄………………….......……………………………..……………. vi

表目錄……………….......………………………………..……………..x
符號索引….………………...…………………………..……………….xi
第1章 緒論…………………………........…………………..………….1
1.1 動機………..…………………………………………………1
1.2 文獻回顧….....…………………………………………...…..3

1.3 本文目的....……........…………………………………….….6
第2章  理論分析….…..………………………………….…………….8

    2.1…………….……………………..…………………..…………..8

    2.2…………………………………….………………….….……..12

2.4…………………………………….…………………..………..16

第3章 數值方法與計算過程...................................................………..19

    3.1……………………………………………….…………………19

    3.2………..…………………………………………….…………..30

    3.3….……………....……………………….……….……….…….35
第4章  結果與討論………………………………..........…………….40

第5章  結論………......................................................................…….50

第六章  未來研究的建議......................................................................53

參考文獻…............................…………………….…………………….55
附錄..........................................................................................................58

     附錄1.............................................................................................58

     附錄2.............................................................................................65

作者簡介……………………….........................……………………….70
符號索引(Nomenclature)：照英文順序排列
a : 

A :

b : 

B :
c : 

C :

.

.

Z : 

希臘字母(Greek Symbols)：照希臘字母順序排列
α(Α):

β(Β): 

γ(Γ): 
δ(Δ):

ζ(Ζ):

η(Η):

θ(Θ):
ι(Ι):

κ(Κ):

λ(Λ):

μ(Μ):

ν(Ν):

ξ(Ξ):

ο(Ο):

π(Π):

ρ(Ρ);

σ(Σ):

τ(Τ):

υ(Υ):

φ(Ψ):

ω(Ω):

上標(superscripts)

* : 

下標(subscripts)

∞ : 

Nomenclature


[image: image1.wmf]c

 specific heat (J/kg °C)


[image: image2.wmf]k

 thermal conductivity (W/m °C)

[image: image3.wmf]Q

 absorbed power deposition density (W/cm3)

[image: image4.wmf]r

 distance along r-axis (mm)


[image: image5.wmf]0

r

 radius of the blood vessel (mm)

[image: image6.wmf]1

r

 radius of the heating tumor tissue (mm)

[image: image7.wmf]R

 dimensionless radius, 
[image: image8.wmf]0

/

r

r

R

=



[image: image9.wmf]t

  time (s)

[image: image10.wmf]T

 temperature (°C)


[image: image11.wmf]a

T

 arterial temperature = 37(°C)


[image: image12.wmf]w

 averaged blood velocity along z-direction (mm/s)

[image: image13.wmf]b

W

 blood perfusion rate (kg/m3.s)


[image: image14.wmf]z

 distance along z-axis (mm)

[image: image15.wmf]Z

 dimensionless distance, 
[image: image16.wmf]0

/

r

z

Z

=



[image: image17.wmf]q

 dimensionless temperature, 
[image: image18.wmf]a

a

T

T

T

-

=

q



[image: image19.wmf]r

 density (kg/m3)


[image: image20.wmf]t

 dimensionless time, 
[image: image21.wmf]2

0

 

r

c

t

k

t

t

t

r

t

=


Subscripts


[image: image22.wmf]b

 blood


[image: image23.wmf]t

  tissue

	附帶說明 : 作者的寫法

Chen[5] 僅有陳姓這位作者的寫法

Chen and Lai[17] 陳姓與賴姓兩位作者的寫法

Chen et al.[8] 陳姓與其他所有作者,共有三位以上作者的寫法

     The primary aim of this study is to examine the effect of thermally significant blood vessel by introducing the energy transport equation of the blood flow. Deng and Liu [5] studied analytical solution to the bio-heat transfer problems with spatial or transient heating on skin surface or inside biological bodies using Green’s function method. Without considering the blood vessel effect, their solutions were applied to several selected typical bio-heat transfer processes, which are often encountered in cancer hyperthermia, laser surgery, and tissue thermal parameter estimation. Chato [6] investigated heat transfer to blood vessels in three configurations including a single vessel, two vessels in counter  flow, and a single vessel near the skin surface.
      However the heating deposition power in tissue and the axial conduction in blood flow and tissue are not considered. Furthermore, Huang et al. [7] discussed the two cases (a) the average axially varying temperature of the blood and (b) the temperatures in its surrounding tissue, and obtained the analytical solutions. And their studies are restricted to a simple geometry and without considering the variation due to axially temperature gradient in tissue. There is little information concerning the effect of thermally significant large blood vessel on the temperature distribution and thermal lesion. Therefore, this study investigates the effects of thermally significant blood vessel with different diameters and velocities on thermal distributions within the heated tumor volume.


	附帶說明：Equation、Table、 Figure的寫法

Equation (1) 或 Eq.(1)

Equations (2) and (3) 或 Eqs.(2) and (3)

Equations (4) to (6) 或 Eqs. (4) to (6)

Table, Figure 或 Equation 出現在句首不得簡寫

例如 : Equation (1) shows……….

       ………………………in Eq.(2)

The energy equations of tissue and blood are represented in Eqs. (1) and (2), respectively. The model of angularly symmetric geometry was used in the simulation, as shown in Fig. 1. There is a blood vessel throughout the heated perfused tumor tissue. For the tissue domain, the transient Pennes bio-heat transfer equation in cylindrical coordinates is given in Eq. (1).

Figure 3 demonstrates the effects of thermally significant blood vessels with different diameters and averaged velocities on the thermal dose (EM43) profiles.
Five different vessel diameters and blood velocities are used as shown in Table2.


1. J. P. Chiou, The Effect of Longitudinal Heat Conduction on Crossflow Heat Exchanger, ASME J. Heat Transfer, vol. 100, pp.346-351, 1978.

2. W. M. Kays and A. L. London, Compact Heat Exchanger, 3rd ed., p. 85, McGraw-Hill, New York, 1984.

3. J. P. Chiou, The Advancement of Compact Heat Exchanger Theory Considering the Effect of Longitudinal Heat Conduction and Flow Nonuniformity, in R. K. Shah, C. F. McDonald, and C.P. Howard (eds.), Compact Heat Exchangers-History, Technological Advancement and Mechanical Design Problems, HTD vol. 10, pp. 101-121, American Society for Mechanical Engineers, New York, 1980.
圖與表的寫法：圖的說明在圖的下方，表的說明在表的上方，
[image: image36.wmf]r


[image: image37.wmf]0

r

[image: image38.wmf]r


[image: image39.wmf]1

r


[image: image40.wmf]z

[image: image41.wmf]r




	TABLE 1  Parameters used for Simulation

	Symbol
	Definition
	Value
	Unit

	
[image: image24.wmf]t

r

, 
[image: image25.wmf]b

r


	Density of tissue and blood
	1050
	kg/m3

	
[image: image26.wmf]t

c

, 
[image: image27.wmf]b

c


	Specific heat of tissue and blood
	3770
	J/kg °C

	
[image: image28.wmf]0

r


	Radius of blood vessel
	0.1 ~ 1
	mm

	
[image: image29.wmf]1

r


	Radius of tumor tissue (the heating target)
	5
	mm

	
[image: image30.wmf]t

k

, 
[image: image31.wmf]b

k


	Thermal conductivity of tissue and blood
	0.5
	W/m °C

	
[image: image32.wmf]w


	Averaged blood velocity
	3.4 ~ 20
	mm/s

	
[image: image33.wmf]b

W


	Blood perfusion rate
	5
	kg/m3s

	
[image: image34.wmf]a

T


	Arterial temperature
	37
	°C

	
[image: image35.wmf]Q


	Absorbed power density of tissue and blood
	6, 0.6
	W/cm3


r 





Blood vessel (� EMBED Equation.3  ���=� EMBED Equation.3  ���)





10 mm





z





Heating target (� EMBED Equation.3  ���=� EMBED Equation.3  ���)


(Tumor tissue)





Averaged velocity (w)





5 mm





FIG. 1  The geometry for the simulation where heating target (5 mm ≦ � EMBED Equation.3  ���≦ 15 mm, 0 < � EMBED Equation.3  ���≦ 5 mm) and the uniform velocities in the blood vessels and their diameters are shown in Table 2.








_1042447473.unknown

_1108816644.unknown

_1109532607.unknown

_1109534905.unknown

_1109534930.unknown

_1109532637.unknown

_1108830095.unknown

_1109531917.unknown

_1109532580.unknown

_1109531802.unknown

_1108816504.unknown

_1108816574.unknown

_1108816629.unknown

_1108816520.unknown

_1057403288.unknown

_1108730983.unknown

_1108731090.unknown

_1042448862.unknown

_684836810.unknown

_684847715.unknown

_684847908.unknown

_684848288.unknown

_684848570.unknown

_684847877.unknown

_684837182.unknown

_684847399.unknown

_684836977.unknown

_394885119.unknown

_684836764.unknown

_684836786.unknown

_394890271.unknown

_684835792.unknown

_394890015.unknown

_394884937.unknown

